Electrical installation

CONDUIT SYSTEM INSTALLATION

MODULE 1

MAY 2025

THE KERICHO NATIONAL POlYTECHNIC

PRACTICAL ASSESSMENT 2

INSTRUCTIONS TO CANDIDATE

Do not write on the question paper

Return this paper at the end of assessment

The block diagram below consist of;

- Sequence of control.

- Lamp 1 is control by switch s1

- Lamp 2 is control by s2 and s3

- Lamp3 is controlled by  switch s4, s5 and s6

TASK A

- Write down the tools required.

- State at least five accessories needed

- Draw the wiring diagram

TASK B

Using PVC heavy gauge conduit pipes, construct the circuit on the wiring board.

Carry out the following tests in the presence of your trainer

- Carry out polarity test

- Functionality of the circuit.